## SECTION 1 — WHY DUCTWORK MATTERS

HVAC equipment can only perform as well as the air pathways allow. Bad ducts ruin good systems.

Airflow is the bloodstream of comfort.

## SECTION 2 — MATERIAL TYPES

- Sheet metal (best performance)

- Rigid duct

- Flex duct (misused constantly)

- Plenum boxes

- Returns & registers

Flex duct is not spaghetti — stop treating it that way.

## SECTION 3 — AIRFLOW BASICS

Measured in CFM (cubic feet per minute).

Each room must receive the right amount of air based on load.

Static pressure determines how hard the system works.

Too high = struggling unit.

Too low = low performance.

## SECTION 4 — COMMON MISTAKES

- Long runs with no support

- Crushed flex duct

- Undersized returns

- Leaks at joints

- No balancing

Air has rules. Only HVAC techs who respect them get comfort.