## SECTION 1 — WHAT ASPHALT SHINGLES ARE

Asphalt shingles are the dominant residential roofing material in North America. They protect the home through layered, overlapping water shedding—not waterproofing.

Shingles don’t stop water.

The system below them guides water away.

## SECTION 2 — TYPES

- 3-tab — cheap, flat, outdated

- Architectural / dimensional — modern standard

- Impact-resistant — hail zones

The roof’s appearance is branding. The system is survival.

## SECTION 3 — INSTALLATION SEQUENCE

- Starter strip

- Field shingles

- Valleys and penetrations

- Ridge caps

- Venting

Roofs fail at details, not at surfaces.

## SECTION 4 — COMMON MISTAKES

- Improper nail placement (above strip)

- No starter strip → wind uplift

- Poor valley flashing → leaks

- Ignoring ventilation → shingle bake-out

Shingles age. Flashings fail. Installers choose which happens first.