## SECTION 1 — WHAT DRYWALL REALLY IS

Drywall is gypsum sandwiched between paper.

Simple materials, brutal expectations.

It delivers:

- Fire resistance

- Acoustic control

- Smooth finish surfaces

- Visual perfection

Drywall is the final judge of framing precision and the first thing homeowners criticize.

## SECTION 2 — TYPES OF DRYWALL

- Standard GWB — common interior walls

- Moisture-resistant (green/purple board) — bathrooms

- Fire-rated (Type X) — garages & code walls

- Sound-rated board — theaters, shared walls

- Paperless board — mold-resistant

Drywall is chosen by purpose, not price.

## SECTION 3 — REQUIRED TOOLS

Essential

- T-square

- Utility knife

- Drywall lift

- Mud pans / knives

- Screw guns

- Sanding pole

Pro

- Corner bead tools

- Automatic tapers

- Dustless sanders

Tools determine quality. Technique determines whether anyone notices.

## SECTION 4 — INSTALLATION BASICS

- Hang sheets horizontally for fewer seams

- Use enough screws, not opinions

- Leave proper gaps for movement

- Avoid butt joints whenever possible

- Plan seams around lighting

Drywall is geometry with consequences.

## SECTION 5 — MUDDING & TAPING

Three coats minimum:

- Tape coat — embed tape

- Fill coat — build foundation

- Finish coat — perfection

Sanding is either art or punishment, depending on coat #2.

## SECTION 6 — COMMON FAILURES

- Nail pops from framing movement

- Butt joints visible in light

- Cracking corners due to bad tape

- Over-sanding → fuzzed paper

- Texture mismatches

Drywall mistakes don’t scream — they glare.

## SECTION 7 — SAFETY

- Dust inhalation

- Sheet lifting injuries

- Sharp blades

- Silica exposure when sanding compounds

Drywall dust is the glitter of construction — once it’s there, it’s everywhere.

## SECTION 8 — DIY VS PRO

DIY OK:

- Small patchwork

- Minor repairs

Hire a pro:

- Ceilings

- Large rooms

- Fire-rated assemblies

- Smooth finish expectations

Smooth finish exposes character — and not everyone likes their reflection.

## SECTION 9 — WHAT MAKES A GOOD DRYWALL CREW

They:

- Don’t chase seams with mud

- Use light to inspect what others ignore

- Keep screws tight, not proud

- Understand humidity and cure times

- Know texture is a language, not a disguise

Good drywallers don’t argue with light — they negotiate with it.