TradeScout | Residential Siding Systems

Version: v1

### 1. PURPOSE OF RESIDENTIAL SIDING

Residential siding is not decoration — it is a weather system that protects the building envelope, affects energy performance, and forms the homeowner’s first impression.

A great siding system:

- Sheds water intentionally

- Works with a WRB (weather-resistive barrier)

- Allows walls to dry, not trap moisture

- Handles expansion and contraction

- Maintains curb appeal for decades

Your siding is not what you see — it’s what you don’t see behind it.

### 2. COMMON RESIDENTIAL SIDING TYPES

#### 2.1 Vinyl Siding

- Cost-effective, widely used

- Requires expansion tolerance

- Must hang, not be nailed tight

- Vulnerable to heat distortion from reflections & grills

Vinyl siding fails when installers treat it like wood.

#### 2.2 Fiber Cement (Hardie, Nichiha, etc.)

- Fire, pest, and rot resistant

- Heavy; requires two-person handling

- Must be painted or factory-finished

- Needs proper flashing at butt joints

Most fiber cement failures = no flashing + water absorption.

#### 2.3 Wood Siding (Lap, Shake, Board & Batten)

- Natural appearance, high aesthetic value

- Requires sealing on all sides, including cuts

- Vulnerable to pests, moisture, and poor maintenance

Wood doesn’t rot — neglect does.

#### 2.4 Engineered Wood Siding

- Wood look without the maintenance load

- Requires edge sealing and proper fasteners

- Manufacturer details must be followed exactly

Shortcuts void warranties faster than rain finds gaps.

#### 2.5 Vinyl + Stone/Accent Combinations

- Increasingly common for curb appeal

- Requires correct sequencing and transition flashing

Two systems = double the failure points.

### 3. INSTALLATION PRIORITIES

- Confirm wall flatness before starting

- Place starter strip level — the whole wall depends on it

- Use correct fasteners and spacing

- Respect expansion joints

- Flash penetrations, edges, corners, and terminations

- Maintain proper clearance from grade and roofing

Siding doesn’t leak where it looks bad — it leaks where it was never considered.

### 4. REVEALS, LINES & VISUAL QUALITY

Homeowners judge siding like they judge haircuts — alignment is everything.

A professional crew:

- Keeps consistent reveals

- Lines up transitions

- Uses story poles or laser lines

- Doesn’t let trim solve layout mistakes

Crooked siding screams amateur from the street.

### 5. VENTILATION & DRAINAGE CONSIDERATIONS

Even “sealed” walls must breathe.

Residential siding requires:

- A WRB behind the siding

- Drainage or rainscreen gap (climate dependent)

- Flashing that directs water OUT, not IN

- No trapped moisture against sheathing

If a wall can’t dry, it rots from the inside out.

### 6. WHEN TO UPSELL (HONESTLY)

Homeowners don’t know what they don’t know. Educate, don’t exploit.

Legitimate upsells include:

- Rainscreen assemblies

- Pre-finished boards

- Insect screens at bottom terminations

- Metal corner posts instead of vinyl

- Factory touch-up kits for fiber cement

If the upsell makes the job last longer, it isn’t a sale — it’s stewardship.

### 7. RED FLAGS TO TELL CUSTOMERS

If a siding contractor:

- Nails vinyl tight

- Doesn’t mention WRBs

- Refuses to remove existing siding

- Wants to caulk instead of flash

- Can’t explain drainage

…they do not understand siding — they understand walls as decoration.

TradeScout believes trust comes from information, not intimidation.

### 8. WHY THIS MATTERS TO THE ECOSYSTEM

Residential siding:

- Generates visible proof of workmanship

- Creates public recommendation loops

- Affects appraisals and insurance

- Touches roofing, insulation, and framing systems

- Becomes a major hiring event every 15–30 years

This trade has the perfect ingredients for viral adoption inside TradeScout:

What neighbors see, they ask about.

What they ask about, we capture.

What we capture builds trust.