## 1. What This Tool Is

A PEX crimping tool is the compression device used to create leak-proof connections on PEX tubing using copper or stainless steel crimp rings. It replaces soldering, gluing, and threading—making modern plumbing faster, safer, and homeowner-friendly.

## 2. Why It Exists / When It’s Used

Use a PEX crimper when:

- Installing new water supply lines

- Converting old copper systems to PEX

- Running bathroom, kitchen, or fixture lines

- Expanding manifolds or adding shutoffs

PEX is the new plumbing standard for 80% of residential work. The crimper is the entry ticket.

## 3. Mastery Signals (How Pros Stand Out)

Pros:

✔ Verify ring compression with a go/no-go gauge

✔ Leave ¼” of pipe visible past the fitting shoulder

✔ Use color-coded lines for hot/cold routing clarity

✔ Anchor lines to avoid movement + water hammer

Amateurs:

❌ Skip the gauge

❌ Crimp too close to pipe end

❌ Twist fittings after crimp — instant micro-leaks

## 4. Crimp Types & Why They Matter

| Ring Type | Best Use | Notes |
| --- | --- | --- |
| Copper Crimp | Most installs | Cheapest + reliable |
| Stainless Clamp | Tight spaces | Single-ear clamp tool |
| Expansion Ring | Large manifolds | Requires expander tool |

TradeScout Rule:

Copper crimp = homeowner. Stainless = pro. Expansion = commercial.

## 5. Safety & Risk Notes

⚠ Improper crimp = hidden leak behind drywall

⚠ UV exposure weakens PEX — never leave unprotected

⚠ Freezing lines will burst any pipe, PEX included

TradeScout Wisdom:

“PEX forgives mistakes, but water never will.”

## 6. Maintenance Checklist

- Clean jaws weekly

- Test calibration monthly

- Replace worn pivot pins

- Store indoors — humidity destroys calibration

## 7. Customer Trust Enhancers

Show them:

📌 Crimp gauge proof

📌 Labeling of hot/cold supply lines

📌 Expansion tank installation (if applicable)

If a contractor does this, they’re not asking for trust—they’re documenting it.