- WHAT THIS TOOL IS

 A water test kit measures the chemical balance of a pool. It gives accurate readings for chlorine, pH, alkalinity, hardness, and stabilizer levels.

This tool protects swimmers, equipment, and pool longevity.

⸻

- WHY IT EXISTS / WHEN IT’S USED

 Use a water test kit when:

• Starting weekly or monthly maintenance

• After storms or heavy pool use

• Before and after adding chemicals

• Diagnosing algae, cloudiness, or odors

• Opening or closing a pool

You cannot treat what you did not measure.

⸻

- WHAT PROS DO DIFFERENTLY

 Professionals:

✔ Use liquid reagent kits—not cheap strips

✔ Record readings and compare to the previous visit

✔ Explain chemical needs in simple terms

✔ Adjust one parameter at a time

✔ Take samples from elbow depth, not surface

Amateurs:

❌ Rely on vague color strips

❌ Test only chlorine and ignore alkalinity/pH

❌ Add chemicals blindly

❌ Guess instead of measure

❌ Take surface samples polluted by oils

TradeScout Standard:

“Numbers first. Chemicals second.”

⸻

- WHY THIS TOOL MATTERS

 Incorrect chemistry causes:

• Algae blooms

• Cloudy water

• Skin and eye irritation

• Corrosion of heaters and pumps

• Scaling on tile and plaster

• Expensive equipment failure

Balanced water is the backbone of pool health.

⸻

- SAFETY TRAPS

 ⚠ Reagents are chemicals—avoid skin and eye contact

 ⚠ Store test kits away from heat and sunlight

 ⚠ Never mix reagents outside proper use

 ⚠ Do not allow children access

Precision requires safety.

⸻

- MAINTENANCE CHECKLIST

 • Replace reagents annually

 • Keep kit dry and sealed

 • Wipe vials between tests

 • Calibrate digital meters as required

 • Dispose of expired chemicals properly

Accurate tests come from well-maintained tools.

⸻

- CUSTOMER TRUST SIGNALS

 Customers trust pros who:

📌 Show readings before adding chemicals

📌 Explain each adjustment clearly

📌 Track trends over time

📌 Demonstrate accuracy with a real test kit—not strips

Clear numbers build clear confidence.