## 1. TOP HAZARDS

• Pressurized water bursts

• Hot water burns

• Gas leaks

• Sewage exposure

• Confined spaces

• Slips from wet floors

⸻

## 2. REQUIRED PPE

✔ Gloves (waterproof or nitrile)

✔ Safety glasses

✔ Respirator when cutting cast iron

✔ Knee pads

✔ Waterproof boots

⸻

## 3. SAFE WORK PRACTICES

✔ Shut water off before opening any line

✔ Test pressure before cutting or disconnecting

✔ Ventilate areas with sewage gases

✔ Keep electrical tools away from water

✔ Verify gas lines with leak detector before and after work

⸻

## 4. DO NOT DO

❌ Assume pressure is relieved

❌ Work near sewage without protection

❌ Use open flames near gas lines

❌ Work in crawlspaces without checking air quality

⸻

## 5. EMERGENCY TRIGGERS

⚠ Gas smell

⚠ Sewage backup

⚠ Pressurized blowout

⚠ Heat burns

⸻

## 6. CUSTOMER TRUST SIGNALS

📌 Protect floors first

📌 Explain shutoff procedure

📌 Check for leaks after finishing

📌 Leave workspace clean and disinfected