## 1. TOP HAZARDS

• Chemical exposure (chlorine, acids)

• Electrical components near water

• Slippery surfaces

• Pressurized plumbing lines

• Heavy lifting (filters, pumps)

⸻

## 2. REQUIRED PPE

✔ Chemical-resistant gloves

✔ Respirator for acid fumes

✔ Eye protection

✔ Non-slip footwear

✔ Long sleeves for chemical handling

⸻

## 3. SAFE WORK PRACTICES

✔ Add chemicals to water — not water to chemicals

✔ Shut off breakers before servicing pumps

✔ Set cones or tape around slippery areas

✔ Handle acid and chlorine separately

✔ Prime pumps safely before startup

⸻

## 4. DO NOT DO

❌ Mix chlorine with acids

❌ Work on energized pool equipment

❌ Add chemicals while swimmers are present

❌ Leave chemical containers open

⸻

## 5. EMERGENCY TRIGGERS

⚠ Chemical splash

⚠ Fume inhalation

⚠ Electrical shock

⚠ Pressure burst in plumbing lines

⸻

## 6. CUSTOMER TRUST SIGNALS

📌 Chemical logs

📌 Clean water handling

📌 Controlled pump service

📌 Demonstrated understanding of pool chemistry