## SECTION 1 — WHAT PLUMBING IS

Plumbing is the trade responsible for moving water, waste, and gas safely and reliably through a structure. A plumbing system is a controlled traffic network: water comes in clean, moves where it’s needed, and leaves dirty—without leaks, contamination, or backflow. Good plumbing protects health, property, pressure, and peace of mind.

Core mission:

Move fluids with purpose. Keep clean water clean. Keep waste where it belongs.

If plumbing fails, the house fails.

## SECTION 2 — SYSTEM CATEGORIES

Every plumbing system fits into one or more of these buckets:

### 1. Water Supply Systems

Pressurized lines delivering potable water into the building.

- City meter / well source → main shutoff → distribution

- Materials: PEX, copper, CPVC, galvanized (legacy)

### 2. Drain-Waste-Vent (DWV) Systems

Handles waste removal and air equilibrium.

- Gravity-driven drainage

- Vents prevent siphoning, sewer gas, and pressure issues

### 3. Fixture Hookups

The visible parts: toilets, faucets, tubs, showers, sinks.

- The customer sees this

- The building inspector judges everything else

### 4. Gas Plumbing (optional jurisdiction)

Natural gas or propane line installation.

- Not water, but plumbers often own this space

- Licensed in many states

### 5. Specialty Systems

- Irrigation tie-ins

- Recirculating hot water systems

- Water filtration / softening

If the job touches water or waste, a plumber owns the outcome.

## SECTION 3 — REQUIRED TOOLS

If someone shows up without these, they’re pretending:

Essentials

- Pipe wrench set

- Channel locks

- Torch / heat gun (depending on pipe type)

- PEX crimp tool and gauge

- Thread tape (Teflon)

- PVC primer & cement

- Basin wrench

- Level

- Hole saw kit

- Plumber’s snake / auger

Professional tier

- Propress tool (copper crimp, modern standard)

- Sewer camera

- Hydro-jetter

- Manometer (for gas)

- Thermal imaging for leaks

A plumber without the right tools becomes a demo crew.

## SECTION 4 — COMMON MATERIALS

Supply Lines

- PEX — current king, flexible, fast installs, fewer fittings

- Copper — durable, expensive, fire-rated, legacy prestige

- CPVC — cheap alternative with chemical sensitivity

- Galvanized — outdated, corrosion risk, replacement target

Drainage

- PVC — modern standard, cheap, glue-set

- ABS — older regions, black pipe, compatible but not mixable without transition cement

- Cast Iron — commercial & high-end residential noise control

Fixtures

- Brass, stainless, ceramic cartridges, wax rings, traps

## SECTION 5 — KEY TERMS

These signal whether someone knows the trade or just watched YouTube:

- Rough-In — plumbing before walls close

- Trim Out — final fixtures and fittings

- Trap — stops sewer gas

- Vent Stack — prevents vacuum lock

- Slope — ¼” per foot on drains (USA standard)

- Dielectric Union — prevents corrosion between dissimilar metals

- Ball Valve — preferred shutoff control

## SECTION 6 — STANDARD WORK SEQUENCE

The plumbing lifecycle:

- Site layout and plan reading

- Rough-in supply & drain lines

- Pressure test & inspection

- Wall closure

- Fixture install (trim-out)

- Leak tests, flow check, vent check

- Customer handoff

If done right, nobody thinks about plumbing again.

If done wrong, they think about it every day.

## SECTION 7 — COMMON MISTAKES

- No vent or improper venting → slow drains, sewer smell

- Wrong pipe slope → clogs, backups

- Mixing copper and galvanized → corrosion

- Using SharkBite everywhere → repairs disguised as installs

- Hand-tight gas fittings without test → lawsuit

Cheap plumbing is the most expensive repair.

## SECTION 8 — SAFETY CONSIDERATIONS

- Shutoff valves identified before work

- Gas lines pressure-tested

- No open flames near flammables

- PPE: gloves, goggles, respirator for sewer cleanup

- Avoid cross-contamination between potable and waste

Plumbing protects public health—don’t treat it casually.

## SECTION 9 — DIY VS PRO THRESHOLDS

Safe for DIY:

- Faucet swap

- Toilet replacement

- Garbage disposal install

Hire a pro:

- Anything inside walls

- Gas lines

- Sewer line issues

- Whole-home repipe

- Real pressure problems

One bad DIY can ruin structural integrity.

## SECTION 10 — WHAT MAKES A GOOD PLUMBER

If the community should recommend them, they:

- Show up on time

- Explain problems simply

- Take pride in clean work

- Use proper slope and venting without shortcuts

- Pass inspections the first time

- Don’t sell fear

- Respect the home

Trust is visible before the water runs.