## SECTION 1 — WHAT AN ELECTRICAL ROUGH-IN IS

The electrical rough-in is the hidden installation phase where wires, boxes, conduits, and panel feeds are run before insulation and drywall. This is the infrastructure that decides safety, capacity, and future usability.

Done correctly, nobody thinks about it again.

Done wrong, it becomes a fire waiting for a chance.

## SECTION 2 — OBJECTIVES

- Correct breaker load distribution

- Safe routing of conductors

- No splices buried behind walls

- Proper box depth and count

- Secure grounding and bonding

Rough-in isn’t wiring — it’s planning electricity’s future.

## SECTION 3 — REQUIRED TOOLS

- Fish tape

- Hole saw / spade bits

- Stud guards

- Wire strippers

- Voltage tester

- Conduit bender (if applicable)

- Drill & driver

If someone shows up without a tester, they are not an electrician — they are a liability.

## SECTION 4 — MATERIALS

- Romex (NM-B) or MC

- Staple fasteners

- Junction boxes

- Conduit (PVC/EMT) where required

- Bonding jumpers

## SECTION 5 — STANDARD WORKFLOW

- Load calculation

- Panel location verified

- Run home runs to panel

- Branch circuits to devices

- Label circuits

- Inspection

If it isn’t labeled, it isn’t finished.

## SECTION 6 — COMMON MISTAKES

- Over-stapling (wire damage)

- Running parallel to HVAC ducts

- Too many wires in small box

- Mixing ground/neutral improperly

- Loose terminations

Electricity punishes laziness permanently.