## SECTION 1 — WHAT A LOAD CALCULATION IS

A load calculation determines how much heating and cooling a building actually needs. It prevents oversizing, short cycling, humidity issues, and wasted money.

Bigger is not better.

Correct is better.

## SECTION 2 — MANUAL J

Industry-standard method for residential HVAC sizing.

Factors include:

- Square footage

- Insulation values

- Windows and orientation

- Air leakage

- Climate zone

- Occupants and appliances

If a tech sizes your system by “rule of thumb,” they ruled out competence.

## SECTION 3 — CONSEQUENCES OF WRONG SIZING

Oversized:

- Short cycling

- Poor humidity control

- Higher bills

Undersized:

- Runs constantly

- Never hits set point

- Customer misery

Load calcs are math, not vibes.