## SECTION 1 — WHAT HVAC IS

HVAC (Heating, Ventilation, and Air Conditioning) is the mechanical system responsible for indoor comfort and air quality. It controls temperature, humidity, filtration, and airflow throughout a building.

Core mission:

Move air with purpose — heat it, cool it, filter it, and exhaust what shouldn’t be breathed.

Bad HVAC makes a house uncomfortable.

Bad design makes it expensive forever.

## SECTION 2 — SYSTEM CATEGORIES

### 1. Heating

- Furnaces (gas/electric)

- Heat pumps

- Boilers

- Radiant heating

Heat is not optional — failure here is survival-level discomfort.

### 2. Cooling

- Air conditioning units

- Heat pumps in reverse

- Mini-splits

Air conditioning is comfort chemistry — refrigerant moves heat, not cold.

### 3. Ventilation

- Fresh air intake

- Return air pathways

- Bathroom/kitchen exhaust

Ventilation is the difference between “new house smell” and “sick building syndrome.”

### 4. Ductwork

- Supply and return lines

- Registers, grilles, plenums

If ducts are wrong, you can’t fix HVAC with equipment.

## SECTION 3 — REQUIRED TOOLS

Essential

- Manifold gauge set

- Vacuum pump

- Multimeter

- Refrigerant scale

- Thermometer / hygrometer

- Sheet metal tools

- Crimpers, snips, brake

HVAC without measurement is guesswork.

## SECTION 4 — COMMON MATERIALS

- Refrigerant linesets (copper)

- Insulated ducts (flex, rigid, metal)

- Air handlers and condensers

- Thermostats / smart controls

- Filters (MERV ratings matter)

Everything in HVAC is a system — not a piece.

## SECTION 5 — KEY TERMS

- BTU — heat capacity

- SEER — cooling efficiency rating

- CFM — cubic feet per minute of airflow

- Superheat / Subcool — refrigerant diagnostics

- Static Pressure — airflow resistance

- Load Calculation — HVAC math that prevents oversized units

Buying a bigger unit is not an upgrade — it’s a mistake.

## SECTION 6 — STANDARD WORK SEQUENCE

- Load calculation (Manual J)

- Duct design (Manual D)

- Equipment sizing (Manual S)

- Installation

- Charge & test

- Commission system

Skipping the math guarantees a callback.

## SECTION 7 — COMMON FAILURES

- Oversized units → short cycling, humidity issues

- Undersized returns → noise, pressure problems

- Zero airflow calculations → comfort complaints

- Poor line set brazing → leaks

- Flex duct spaghetti → lost efficiency

The system works as well as the ductwork allows.

## SECTION 8 — SAFETY CONSIDERATIONS

- Refrigerant handling requires certification (EPA 608 in U.S.)

- Combustion appliances must be vented properly

- Gas leaks + ignition = disaster

- Electrical disconnects must be accessible

HVAC touches fire, electricity, chemicals, and air — all at once.

## SECTION 9 — DIY VS PRO THRESHOLDS

DIY okay:

- Filter changes

- Thermostat swap (low voltage)

- Basic cleaning

Hire a pro:

- Refrigerant work

- Gas furnaces

- Duct redesign

- Load calculations

HVAC is math + mechanics — not a YouTube weekend.

## SECTION 10 — WHAT MAKES A GOOD HVAC TECH

They:

- Diagnose before replacing parts

- Understand airflow, not just equipment

- Respect load calculations

- Don’t oversize to avoid complaints

- Leave ducts neat and accessible

- Can explain comfort in plain English

Good HVAC techs don’t sell tonnage — they sell comfort.