## SECTION 1 — WHAT LOW-SLOPE ROOFING IS

Commercial roofing is a drainage system disguised as a flat surface. Water will always find a path; your job is to decide where it goes.

Flat roofs do not forgive mistakes.

## SECTION 2 — COMMON SYSTEMS

- TPO — single-ply membrane, heat-welded seams

- EPDM — rubber membrane

- Modified Bitumen — layered asphalt-based system

- BUR — multiple layers, old but trusted

The wrong application turns every rainstorm into an inspection.

## SECTION 3 — SUCCESS PRINCIPLES

- Perfect seams

- Proper sloping

- Secure terminations

- Flashing discipline

Water tests patience. Roofs test installers.

## SECTION 4 — COMMON FAILURES

- Ponding water

- Open seams

- UV breakdown

- Fastener back-out

- Incorrect adhesives

Commercial roofing isn’t a product — it’s a liability contract.