## SECTION 1 — WHAT CMU SYSTEMS ARE

Concrete block is the workhorse of masonry.

It’s cheap, strong, scalable, and unforgiving when shortcuts appear.

Every block wall is either reinforced correctly or waiting for a lawsuit.

## SECTION 2 — BLOCK WALL COMPONENTS

- CMU units

- Mortar

- Rebar

- Grout fills

- Bond beams

- Control joints

Strength is invisible because it’s inside the wall.

## SECTION 3 — FOUNDATION INTEGRATION

- Proper footings

- Vertical rebar tied to horizontal runs

- Grouted cells for load paths

- Waterproofing exterior walls below grade

Foundations rot when moisture is respected only in hindsight.

## SECTION 4 — COMMON FAILURES

- No reinforcement → shear cracking

- Poor footing → settlement

- Lack of control joints → spider cracks

- Missing waterproofing → mold, rot, movement

Block doesn’t bend. It breaks.