## SECTION 1 — WHAT MASONRY IS

Masonry is the craft of building with stone, brick, block, mortar, and sometimes fire. It creates the parts of a structure that are expected to never fail — foundations, walls, chimneys, fireplaces, and retaining systems.

Wood moves. Metal rusts. Stone remembers.

## SECTION 2 — MASONRY SYSTEM TYPES

### 1. Brick

- Clay fired units

- Veneers, walls, chimneys

- Beauty + longevity

Brick is the trade where aesthetics and structure shake hands.

### 2. CMU (Concrete Masonry Unit) Block

- Load-bearing or partition walls

- Commercial workhorse

- Strong, cheap, scalable

Block is the muscle of the masonry family.

### 3. Stone

- Natural or cultured

- Retaining walls, veneers, architecture

Stone is the art form that refuses deadlines.

## SECTION 3 — MATERIAL BASICS

- Mortar — glue of the trade

- Concrete — foundational pour

- Rebar — internal skeleton

- Flashing & weep holes — drainage and survival

Mortar doesn’t hold masonry together.

Gravity does. Mortar buys time.

## SECTION 4 — REQUIRED TOOLS

Essential

- Trowels

- Levels

- Strings & line blocks

- Mason hammers

- Jointers

- Buckets, mixers, wheelbarrows

Pro-Level

- Wet saws

- Rebar cutters/benders

- Scaffolding systems

- Diamond blades

- Grinders

A mason’s work shows their patience.

Their tools show their standards.

## SECTION 5 — KEY TERMS

- Head joint — vertical joint

- Bed joint — horizontal joint

- Lintel — support over openings

- Bond pattern — brick layout logic

- Weep holes — water exit strategy

- Efflorescence — salt deposits from moisture

Masonry is geometry dressed in dust.

## SECTION 6 — STANDARD WORKFLOW

- Layout and bond pattern planning

- Foundation or base prep

- Mortar mixed to spec

- Course-by-course placement

- Reinforcing and ties installed

- Joints struck and finished

- Cleaning and curing

Straight lines don’t happen by accident.

Every joint is a signature.

## SECTION 7 — COMMON FAILURES

- Missing weep holes → trapped moisture

- Incorrect mortar mix → cracking or powdering

- No flashing → rot behind veneer

- Poor joint finishing → water intrusion

- Unreinforced CMU walls → collapse risk

Masonry fails slowly — then all at once.

## SECTION 8 — SAFETY CONSIDERATIONS

- Lifting heavy units

- Scaffold use

- Dust inhalation

- Silica exposure

- Reinforcement hazards

Stone defeats those who rush it.

## SECTION 9 — DIY VS PRO THRESHOLDS

DIY okay:

- Small brick veneers

- Garden walls

- Repairing a joint

Hire a pro:

- Structural block walls

- Chimneys and fireplaces

- Load-bearing work

- Waterproofing integration

Your wall may stand today. The question is: will it stand time?

## SECTION 10 — WHAT MAKES A GOOD MASON

They:

- Read bond patterns like language

- Respect moisture management

- Treat mortar like chemistry

- Never rush a cure

- Keep their lines true

- Document reinforcement

A sloppy mason builds ruins.

A good mason builds history.