## SECTION 1 — DOORS ARE WEATHER SYSTEMS

Exterior doors aren’t barriers — they’re engineered pressure-managed assemblies.

They fight:

- Water

- Air

- Sound

- Security threats

A door is only as good as its seals.

## SECTION 2 — TYPES OF EXTERIOR DOORS

- Steel — strongest, dent risk

- Fiberglass — best all-around

- Wood — gorgeous but high maintenance

- Sliding glass doors — structural compromises with views attached

A wood door in the wrong climate is a future apology.

## SECTION 3 — INSTALLATION RULES

- Pan flash the threshold

- Shim hinges, not jamb spaces

- Don’t pinch weatherstripping

- Verify reveal lines

- Seal perimeter with flexible sealant

If a door rubs, clicks, whistles, or sticks — someone lied about level.

## SECTION 4 — COMMON FAILURES

- Poor hinge screw penetration

- No backer rod before caulk

- No pan flashing under threshold

- Misaligned reveals

Doors don’t sag. Installers do.