TradeScout | Commercial Siding & Panel Systems

Version: v1

### 1. PURPOSE

Commercial siding systems are not residential siding with bigger invoices.

They are engineered wall assemblies that manage:

- Structural loads

- Fire rating requirements

- Wind pressures

- Thermal breaks

- Expansion cycles

- Multi-trade interfaces

Commercial siding is architecture + physics + liability.

If residential siding is art, commercial siding is aerospace.

### 2. COMMON COMMERCIAL SIDING SYSTEMS

#### 2.1 Metal Panel Systems

- Aluminum and steel cladding

- Standing seam or concealed fasteners

- Requires engineered subframing

- Expansion joints critical

Metal remembers every mistake.

#### 2.2 ACM (Aluminum Composite Material) Panels

- Used in modern commercial facades

- Involves rainscreen + engineered clips

- Must float to allow for thermal expansion

- Highly spec-driven

Do not improvise ACM. Ever.

#### 2.3 Stucco & EIFS (Exterior Insulation and Finish Systems)

- Energy efficient, continuous insulation

- Requires drainage planes behind EIFS

- Incorrect installation traps moisture and ruins walls

EIFS done wrong is a lawsuit disguised as a finish coat.

#### 2.4 Fiber Cement Commercial Panels

- Larger-format cement sheets

- Requires precise layout grids

- Must respect joint patterns established by architects

Fiber cement hates shortcuts and punishes them publicly.

### 3. COMMERCIAL REQUIREMENTS THAT RESIDENTIAL CONTRACTORS MISS

Commercial siding introduces:

| Requirement | Why It Exists |
| --- | --- |
| Fire ratings | Multi-story life safety |
| Wind load design | Tall buildings create suction |
| Thermal breaks | Energy performance + condensation control |
| Subframing | Keeps panels flat and aligned |
| Engineered shop drawings | No field guesswork |

Commercial work is not bigger — it is regulated.

### 4. MULTI-TRADE INTEGRATION

Commercial siding must integrate with:

- Glazing & curtainwall systems

- Roofing transitions

- Mechanical penetrations

- Foundation waterproofing

- Balcony systems

- Lightning protection bonding (sometimes required)

Every intersection is a failure point waiting for ego.

### 5. EXPANSION & MOVEMENT

Commercial systems move more because buildings move more.

- Thermal breaks prevent condensation

- Joints prevent panel buckling

- Subframing isolates movement

If the building moves and your siding can’t — something breaks, and it’s never the building.

### 6. WHEN TO WALK AWAY

Red flags worth declining:

- No engineered drawings

- No WRB or rainscreen details

- GC says “just match existing”

- Wants price before plans

Commercial siding rewards discipline and punishes improvisation.

### 7. WHY THIS TRADE MATTERS TO TRADESCOUT

This file unlocks TradeComp credibility:

- Developers trust those who speak this language

- Architects respect installers who understand detailing

- Multi-million dollar bids hinge on flashing, wind loads, and specs

- Community reputation is magnified when commercial wins are visible

Siding is not just a trade — it is an entry point into commercial market control.

TradeScout turns local talent into contenders.