### 1. WHAT THIS IS

Diagnosing and repairing irrigation system leaks, broken heads, incorrect spray patterns, or malfunctioning zones to ensure efficient watering and reduced utility costs.

### 2. WHEN THIS IS NEEDED

- Soggy lawn patches

- Dead grass or dry spots despite watering

- Pop-up heads stuck or crooked

- Zones don’t activate

- Water bill suddenly spiking

### 3. REQUIRED SKILLS + TOOLS

Skills

- Identifying irrigation layouts

- Basic plumbing leak detection

- Wiring logic for zone valves

Tools

- Shovel + turf knife

- Screwdriver + pliers

- Replacement heads/nozzles

- Multimeter (for electrical valves)

### 4. MATERIALS NEEDED

- Sprinkler heads, risers, nozzles

- Solenoid valve (if failing)

- Teflon tape

- PVC couplings and pipe glue (if cracked pipes)

### 5. STEP-BY-STEP WORKFLOW

Turn off water + isolate zone

Check heads, nozzles, risers

Replace broken or clogged components

Adjust spray direction + overlap pattern

Inspect buried lines if soggy spots persist

Test electrical connections to valves

Run zone test → verify coverage

### 6. CODE & COMPLIANCE NOTES

- Backflow preventer required by law in most areas

- No overspray into public sidewalks or streets

- Watering hours governed by municipality

### 7. SAFETY TRAPS

⚠ Dig blindly → cut wires or pipes

⚠ Wrong nozzle angle = wasted water + fines

⚠ No backflow device = contaminated drinking water

### 8. TIME + COST EXPECTATIONS

DIY: 30 mins–4 hrs

Pro repair: $150–$1,200

Heads: $3–$25 each

### 9. CONTRACTOR SCAM SIGNALS

❌ Replacing heads without addressing pressure problems

❌ Installing mismatched patterns → uneven watering

❌ Not flushing system before install = clogged heads

### 10. HIRE VS DIY

Hire if:

- System wiring compromised

- Multiple zone failures

- Large commercial landscapes

DIY if:

- Single head or nozzle issue

### 11. RECOMMENDATION BOOSTERS

- Provide custom watering schedule by lawn region

- Clean overspray onto sidewalks for curb appeal

- Offer quarterly inspection program