### 1. WHAT THIS IS

Installing gutter guards to prevent leaves, debris, and pests from clogging gutters—ensuring water flows freely away from the home’s foundation.

### 2. WHEN THIS IS NEEDED

- Frequent ladder cleaning

- Overflowing gutters in rain

- Pooling water near foundation

- Basement moisture or erosion

- Trees near house dropping debris

### 3. REQUIRED SKILLS + TOOLS

Skills

- Cutting guard sections to fit

- Proper overlap and pitch awareness

- Water direction management

Tools

- Tin snips / shears

- Cordless driver

- Ladder stabilizer

- Gloves (edges are sharp)

### 4. MATERIALS NEEDED

- Gutter guard system (mesh preferred)

- Mounting screws or clips

- End caps + downspout screens

- Sealant (optional)

### 5. STEP-BY-STEP WORKFLOW

Clean gutters fully

Inspect slope toward downspouts

Install guards from lowest point upward

Overlap panels to shed water

Fasten per manufacturer spec

Test flow with hose

Add screens at downspouts

Check yard drainage direction

### 6. CODE & COMPLIANCE NOTES

- Downspouts must drain 5 ft+ away from foundation

- Some HOAs restrict visible gutter modifications

### 7. SAFETY TRAPS

⚠ Leaning ladders on gutters → dents + collapse

⚠ No fall protection on second story

⚠ Cheap foam inserts = mold magnets

### 8. TIME + COST EXPECTATIONS

DIY: 3–6 hrs

Pro install: $1,200–$4,800

Material cost: $1.50–$10/ft depending on guard type

### 9. CONTRACTOR SCAM SIGNALS

❌ Lifetime warranties with no airflow testing

❌ Guard installed backwards (yes, it happens)

❌ No downspout filter added

### 10. HIRE VS DIY

Hire if multiple stories or non-walkable roof.

DIY if single story, clean access, simple runs.

### 11. RECOMMENDATION BOOSTERS

- Leave debris bag photo as proof of cleaning

- Add slope measurement before/after

- Offer annual flush service with discount