- WHAT THIS TOOL IS

 A post hole digger creates deep, narrow holes for fence posts. It removes soil cleanly and allows posts to sit at the correct depth for stability.

If the fence is the body, the post holes are the bones.

⸻

- WHY IT EXISTS / WHEN IT’S USED

 Use a post hole digger when:

• Setting wood, metal, or vinyl posts

• Repairing leaning or rotten posts

• Replacing storm-damaged sections

• Preparing ground for gate hardware

• Working where machines can’t reach

Every strong fence starts with consistent hole depth.

⸻

- WHAT PROS DO DIFFERENTLY

 Professionals:

✔ Dig below frost line for long-term stability

✔ Keep holes uniform in width and depth

✔ Remove loose soil before setting the post

✔ Maintain straight, vertical walls in each hole

✔ Use gravel base for drainage before concrete

Amateurs:

❌ Dig shallow holes that shift over time

❌ Leave loose soil at the bottom

❌ Cut wider holes than needed—weakens base

❌ Skip drainage prep

❌ Set posts without checking ground condition

TradeScout Standard:

“A fence is only as good as the holes holding it up.”

⸻

- WHY THIS TOOL MATTERS

 Proper holes prevent:

• Leaning posts

• Gate sagging

• Fence vibration in high winds

• Concrete cracking

• Premature fence failure

Strong foundations reduce callbacks and homeowner frustration.

⸻

- SAFETY TRAPS

 ⚠ Underground utilities—always locate lines

 ⚠ Blisters from ungloved hands

 ⚠ Back strain from improper lifting

 ⚠ Unstable edges that collapse into the hole

Safe digging protects both the worker and the property.

⸻

- MAINTENANCE CHECKLIST

 • Clean soil from blades after each use

 • Oil pivot points

 • Check handles for cracks

 • Store dry to prevent rust

 • Tighten bolts and joints monthly

Sharp, clean blades save time and energy.

⸻

- CUSTOMER TRUST SIGNALS

 Homeowners trust pros who:

📌 Dig uniform holes

📌 Explain frost depth and stability

📌 Keep the yard clean during excavation

📌 Set posts on gravel and show proper prep

Strong holes equal long-lasting fences. Customers respect the foundation work.