- WHAT THIS TOOL IS

 A pool vacuum head attaches to a pole and hose to remove debris from the pool floor. It handles dirt, sand, algae dust, and settled organic matter.

It finishes what the skimmer cannot catch.

⸻

- WHY IT EXISTS / WHEN IT’S USED

 Use a vacuum head when:

• Dirt or sand settles on the bottom

• After storms or landscaping work

• Clearing dead algae after treatment

• Maintaining a weekly clean cycle

• Preparing a pool for opening or show-ready clarity

Surface cleaning is half the job. Floor cleaning finishes it.

⸻

- WHAT PROS DO DIFFERENTLY

 Professionals:

✔ Prime the hose to remove air before starting

✔ Move slowly to avoid stirring debris

✔ Use weighted heads that stay firmly on the floor

✔ Vacuum in straight, overlapping passes

✔ Avoid rushing—cloudy water means redo

Amateurs:

❌ Use lightweight heads that float

❌ Move too fast and stir debris

❌ Skip hose priming—pump runs dry

❌ Vacuum randomly with no overlap

❌ Miss corners, slopes, and steps

TradeScout Standard:

“A clean floor is the mark of a disciplined technician.”

⸻

- WHY THIS TOOL MATTERS

 Settled debris leads to:

• Stains on plaster or vinyl

• Algae regrowth

• Cloudy water

• Premature filter clogging

• Customer frustration

A clean floor makes the entire pool look new.

⸻

- SAFETY TRAPS

 ⚠ Never vacuum without priming—pump damage risk

 ⚠ Weight shift from long poles can cause falls

 ⚠ Hose tangles create trip hazards

 ⚠ Avoid vacuuming sharp debris that can tear liners

Clean safely. Move deliberately.

⸻

- MAINTENANCE CHECKLIST

 • Rinse vacuum head after use

 • Check wheels and weights

 • Inspect hose for cracks or suction leaks

 • Remove small rocks that damage mechanisms

 • Store flat to prevent warping

Smooth movement = clean results.

⸻

- CUSTOMER TRUST SIGNALS

 Pros win homeowner confidence when they:

📌 Move slowly and deliberately across the floor

📌 Leave zero clouds or debris behind

📌 Explain what caused the dirt buildup

📌 Deliver a visibly transformed pool bottom

A clean floor makes customers feel the job was worth the visit.