# WHAT THIS TOOL IS

 A caulk gun dispenses sealant in controlled, consistent beads. It seals windows and doors against air, water, and pest intrusion.

# This tool makes the installation weatherproof.

# ⸻

# WHY IT EXISTS / WHEN IT’S USED

 Use a caulk gun when:

# • Sealing exterior window perimeters

# • Closing gaps around door frames

# • Preparing surfaces for trim installation

# • Waterproofing flashing transitions

# • Finishing interior trim lines

# Most window and door failures happen because of poor sealing.

# ⸻

# WHAT PROS DO DIFFERENTLY

 Professionals:

# ✔ Cut the nozzle to match joint width

# ✔ Maintain steady, continuous pressure

# ✔ Tool the bead for smooth adhesion

# ✔ Use appropriate sealant for material and exposure

# ✔ Seal from bottom to top to avoid sagging

# Amateurs:

# ❌ Cut the nozzle too large

# ❌ Leave lumpy, uneven, or broken beads

# ❌ Use interior caulk outdoors

# ❌ Stop and start constantly

# ❌ Leave gaps that leak

# TradeScout Standard:

# “Your seal is your guarantee.”

# ⸻

# WHY THIS TOOL MATTERS

 Proper caulking prevents:

# • Water intrusion

# • Air drafts

# • Rot and mold around frames

# • Energy loss

# • Structural damage from leaks

# A clean bead is the final line of defense.

# ⸻

# SAFETY TRAPS

 ⚠ Solvent-based caulks require ventilation

 ⚠ Pressurized tubes can burst

 ⚠ Skin contact with adhesives

 ⚠ Ladders + one-hand operation increases fall risk

# Proper grip and stable footing are mandatory.

# ⸻

# MAINTENANCE CHECKLIST

 • Clean nozzle immediately after use

 • Release pressure before storing

 • Keep tubes warm in cold months

 • Replace bent or sticky trigger mechanisms

 • Use fresh tubes—expired caulk fails

# A maintained gun makes sealing predictable.

# ⸻

# CUSTOMER TRUST SIGNALS

 Customers trust pros who:

# 📌 Leave smooth, even, continuous beads

# 📌 Clean up edges with precision

# 📌 Use the correct sealant for the job

# 📌 Explain how sealing protects their home

# A perfect bead is visible proof of attention to detail.