## 1. TOP HAZARDS

• Shock and arc flash

• Live circuits mislabeled

• Metal tools near conductors

• Water exposure

• Damaged cords

⸻

## 2. REQUIRED PPE

✔ Insulated gloves

✔ Safety glasses

✔ Rubber-soled boots

✔ Fiberglass ladder

⸻

## 3. SAFE WORK PRACTICES

✔ Test every wire before touching

✔ Verify breaker shutoff with tester

✔ Keep tools dry

✔ Maintain clear workspace around panels

✔ Cover exposed wires when pausing work

⸻

## 4. DO NOT DO

❌ Trust the breaker label

❌ Touch bare copper

❌ Use aluminum ladders

❌ Work in wet areas

⸻

## 5. EMERGENCY TRIGGERS

⚠ Shock sensation

⚠ Sparks or arcing

⚠ Burning smell

⚠ Unknown wires exposed

⸻

## 6. CUSTOMER TRUST SIGNALS

📌 Show them the tester reading

📌 Label circuits

📌 Work neatly inside panels

📌 Keep all splices in junction boxes