## . TOP HAZARDS

• Refrigerant exposure

• High-pressure lines

• Electrical shock

• Sharp metal edges

• Ladder and attic work

⸻

## 2. REQUIRED PPE

✔ Gloves (cut-resistant)

✔ Safety glasses

✔ Respirator for attic dust

✔ Insulated gloves for electrical checks

⸻

## 3. SAFE WORK PRACTICES

✔ Recover refrigerant properly

✔ Use a micron gauge to confirm vacuum

✔ Shut off disconnect before opening panels

✔ Wear gloves when handling sheet metal

✔ Check attic footing before stepping

⸻

## 4. DO NOT DO

❌ Release refrigerant illegally

❌ Work near moving fan blades

❌ Touch capacitor terminals

❌ Assume ducts support weight

⸻

## 5. EMERGENCY TRIGGERS

⚠ Refrigerant freeze burns

⚠ Electrical arcing

⚠ Attic heat exhaustion

⚠ Sharp metal cuts

⸻

## 6. CUSTOMER TRUST SIGNALS

📌 Show readings (microns, pressures)

📌 Explain refrigerant safety

📌 Keep panels organized

📌 Protect the home from attic debris