## 1. What This Tool Is

A wire stripper/crimper is the dual-purpose hand tool used to remove insulation from electrical conductors and to permanently attach terminals, connectors, or splices to wiring. It ensures clean, precise electrical contact—something pliers and knives can’t do safely.

If the multimeter is the electrical truth-teller, the stripper/crimper is the craftsman’s scalpel.

## 2. Why It Exists / When It’s Used

Use this tool when:

- Installing outlets, switches, and lighting fixtures

- Terminating wires into connectors, lugs, crimp sleeves, or terminals

- Replacing brittle or burnt wiring ends

- Connecting appliances, fans, motors, or low-voltage devices

- Any situation where wire insulation must be removed without damaging the copper

Electrical systems fail not because electricity is complicated—

but because connections are sloppy.

This tool eliminates sloppy.

## 3. Mastery Signals (How Pros Stand Apart)

Pros:

✔ Strip insulation without nicking copper

✔ Match gauge slots to wire size—never guess

✔ Use ratcheting crimpers for clean, uniform crimps

✔ Tug test every connection for mechanical integrity

✔ Use heat-shrink tubing for corrosion-proof joints

✔ Keep conductor length consistent for neat panel work

Amateurs:

❌ Use a knife to strip insulation (dangerous + weakens wire)

❌ Over-crimp or under-crimp = failed circuit waiting to happen

❌ Twist wire before crimping—incorrect and unsafe

❌ Leave exposed copper = arc and shock hazard

TradeScout Standard:

“A wire connection should survive a truck ride, not just a fingertip pull.”

Quality electrical work is invisible—and invincible.

## 4. Tool Variations

| Type | Use | When Pros Choose It |
| --- | --- | --- |
| Basic Stripper | Residential wiring | Budget work, limited volume |
| Ratcheting Crimper | Pro-grade terminals | Repeatable perfection |
| Automatic Stripper | Speed installs | Large projects / panels |

TradeScout rule of thumb:

The fancier the breaker panel, the more expensive the crimper should be.

## 5. Safety Notes

⚠ Stripping too deep weakens conductor = fire hazard

⚠ Exposed copper near metal boxes invites arcing

⚠ Incorrect connector type = heat build-up

⚠ Don’t crimp live wires — electricity laughs at confidence

Electricity is patient. Mistakes are not.

## 6. Maintenance Checklist

- Oil pivot points monthly

- Keep cutting blades clean

- Replace tool if jaws deform

- Store in dry environment

- Test crimps on scrap wire before paid work

The tool pays for itself in callbacks avoided.

## 7. Customer Recommendation Boosters

Homeowners trust electricians who:

📌 Label wire gauges during work

📌 Use heat-shrink on all splices

📌 Explain why crimp > wire-nut in certain applications

📌 Leave panel wiring looking like organized spaghetti — neat, consistent, intentional

Every perfect connection is a micro-proof of professionalism.

Visibility + neatness + repeatability = 💬 homeowner word-of-mouth fuel