## 1. PURPOSE OF ELECTRICAL SAFETY

Electricity is silent, fast, and unforgiving.

Most electrical injuries happen because someone assumed a circuit was dead or failed to verify a hazard.

Electrical safety is built on one rule:

Confirm before you touch.

⸻

## 2. THE ELECTRICAL SAFETY COMMANDMENTS

✔ Treat every conductor as live until proven otherwise

✔ Verify power off with a tester — never trust the breaker label

✔ Use insulated tools for all electrical work

✔ Keep water, sweat, and moisture away from connections

✔ Never bypass safety devices or grounded plugs

TradeScout Standard:

“Assume live. Confirm dead.”

⸻

## 3. POWER SHUTOFF RULES

Before opening anything electrical:

✔ Shut off the breaker

✔ Lock out or tape off the switch if possible

✔ Verify with a voltage tester at the device

✔ Test your tester on a known live circuit before and after checking

If the tester doesn’t read correctly, the check is invalid.

⸻

## 4. WORKING AROUND LIVE CIRCUITS

Sometimes circuits cannot be fully de-energized.

If so:

✔ Keep one hand behind your back (reduces shock path)

✔ Stand on dry, insulated surfaces

✔ Use insulated screwdrivers and pliers

✔ Keep all jewelry off — rings conduct electricity

✔ Maintain clear communication with your crew

If in doubt, de-energize the entire area.

Safety outranks convenience.

⸻

## 5. GFCI & AFCI AWARENESS

GFCI protects against shock.

AFCI protects against fire.

✔ Use GFCI outlets near water (kitchens, baths, outdoors)

✔ Use AFCI in living areas and bedrooms per code

✔ Never bypass or disable these devices

A failed GFCI means the job stops until it’s replaced.

⸻

## 6. CORDS, EXTENSION LINES & POWER TOOLS

✔ Inspect cords for cuts or exposed copper

✔ Do not run cords through water or across sharp edges

✔ Use heavy-gauge cords for outdoor tools

✔ Keep cords out of walk paths

✔ Replace damaged plugs immediately

A damaged cord turns the entire tool into a hazard.

⸻

## 7. PANEL & BREAKER SAFETY

When working in or near panels:

✔ Stand to the side — never directly in front

✔ Use one hand when resetting a breaker

✔ Keep panel covers on unless actively diagnosing

✔ Never touch bus bars

✔ Keep the area dry and clear of materials

Electric panels demand absolute respect.

⸻

## 8. LADDER + ELECTRICITY RULE

✔ Never use aluminum ladders near electrical systems

✔ Use fiberglass ladders only

✔ Maintain distance from overhead wires

✔ Assume any overhead line is energized

Ladders and electricity mix only when chosen correctly.

⸻

## 9. SHOCK SYMPTOMS & RESPONSE

If a worker experiences a shock:

⚠ Immediate numbness

⚠ Muscle pain

⚠ Burns at contact points

⚠ Altered breathing

⚠ Confusion or irregular heartbeat

Action steps:

- Shut off power source immediately

- Do not touch the victim until power is confirmed off

- Call emergency services

- Monitor breathing and pulse

- Treat burns after stabilization

Do not assume they are fine — electrical injuries damage internal tissue.

⸻

## 10. WEATHER & OUTDOOR ELECTRICAL WORK

Do NOT work electrical systems during:

⚠ Rain

⚠ Snow

⚠ Standing water

⚠ High humidity inside enclosed spaces

Moisture multiplies shock risk.

⸻

## 11. COMMON MISTAKES TO AVOID

❌ Trusting breaker labels

❌ Using metal ladders

❌ Cutting blindly into walls

❌ Touching exposed wires without a tester

❌ Working with wet clothing or hands

❌ Leaving junction boxes open

Electric mistakes rarely give second chances.

⸻

## 12. CUSTOMER TRUST SIGNALS

Homeowners trust pros who:

📌 Test circuits before touching them

📌 Announce when power will be shut off

📌 Keep panels neat and labeled

📌 Work slowly and methodically

📌 Use insulated tools with visible PPE

Electrical discipline is visible even to untrained eyes.