## SECTION 1 — WHAT BRANCH CIRCUITS ARE

These are the electrical “roads” that connect power from the panel to everything a homeowner touches — outlets, lights, fans, appliances.

Quality here determines reliability forever.

## SECTION 2 — CIRCUIT TYPES

- 15A — general lighting/receptacles

- 20A — kitchens, bathrooms, workshop plugs

- 30A+ — dryers, ovens, EV chargers

Bigger number ≠ better. Correct rating = safe.

## SECTION 3 — REQUIRED DEVICES

- Switches

- Receptacles

- GFCI units

- AFCI breakers

- Smart devices (optional)

If it’s hidden behind furniture, it’s still code-governed.

## SECTION 4 — INSTALLATION PROCESS

- Pull conductors to boxes

- Connect ground first

- Neutral next

- Hot last

- Device attachment

- Test

Electricians test. Amateurs hope.

## SECTION 5 — COMMON MISTAKES

- Backstabbed connections → heat → fire

- Reversed polarity

- Loose grounds

- No GFCI near water

- Shared neutrals without proper breakers

One bad receptacle can cripple a house.