## SECTION 1 — WHAT ELECTRICAL WORK IS

Electrical work manages and distributes controlled energy throughout a structure. It ensures that power flows where it should, never where it shouldn’t. Electricity is invisible until it isn’t—by then it’s too late.

Good electrical work is silent, reliable, and forgettable.

Bad electrical work burns houses down.

Core mission:

Deliver power safely, predictably, and within code.

## SECTION 2 — SYSTEM CATEGORIES

### 1. Service Entry

Where power comes from the utility into the building.

- Meter → Main disconnect → Panel

### 2. Branch Circuits

Individual runs supplying outlets, lights, appliances.

- 15A/20A standard circuits

- 30A/40A/50A specialty circuits

### 3. Low Voltage

Doorbells, networking, security, smart systems.

Not “less dangerous,” just less amperage.

### 4. Grounding & Bonding

The hidden hero.

If this is wrong, everything else is wrong.

## SECTION 3 — REQUIRED TOOLS

If they don’t have these, they have no business touching wire:

- Voltage tester

- Multimeter

- Wire strippers

- Fish tape

- Knockout kit

- Torpedo level

- Screwdrivers (insulated)

- PPE: gloves, non-contact tester, safety glasses

Electricians don’t guess. Guessing is arson.

## SECTION 4 — COMMON MATERIALS

- Romex (NM-B) — residential staple

- MC Cable — commercial / fire-safe

- THHN/THWN — conduit wiring

- Breakers (standard, AFCI, GFCI)

- Receptacles, switches, junction boxes

Every component has a job. Nothing is “just a wire.”

## SECTION 5 — KEY TERMS

- Ampacity — max current a conductor can handle

- Breaker — overcurrent protection

- Neutral — return path

- Ground — emergency path

- Bonding — making metal parts electrically continuous

- AFCI — prevents arc fire

- GFCI — saves lives in wet areas

If someone calls the neutral a ground, stop listening.

## SECTION 6 — STANDARD WORK SEQUENCES

- Service sizing & load calculation

- Panel installation

- Branch circuit distribution

- Device installation (switches/outlets)

- Testing, labeling, inspection

Electricity doesn’t care about excuses.

It obeys physics, not opinions.

## SECTION 7 — COMMON FAILURES

- Backstabbed receptacles → loose connections → fires

- Overloaded circuits

- No GFCI near water

- Neutral/ground bonded in subpanel (illegal)

- Wrong breaker type for application

You don’t get second chances with amps.

## SECTION 8 — SAFETY CONSIDERATIONS

- Lockout/tagout before work

- Test circuits—never assume dead

- Use the correct PPE

- Respect arc flash potential

- Don’t exceed conductor ampacity

Electricity doesn’t care if you’re tired.

## SECTION 9 — DIY VS PRO THRESHOLDS

DIY okay:

- Swap a light fixture

- Change a switch or outlet (same circuit)

Hire a pro:

- Panel work

- Service upgrades

- Subpanels

- EV chargers

- Anything aluminum

- Anything involving grounding or bonding

If a mistake can burn the house down, it’s not DIY.

## SECTION 10 — WHAT MAKES A GOOD ELECTRICIAN

They:

- Explain the invisible clearly

- Label everything

- Respect load calculations

- Never “tie into whatever’s close”

- Know the code without checking

- Leave no loose connections

- Don’t let breakers become bandaids

A great electrician is calm. They know where power wants to go, and they don’t let it.