## SECTION 1 — WHAT A HEAT PUMP DOES

A heat pump transfers heat from one place to another using refrigerant. It heats in winter and cools in summer by reversing direction.

It moves heat — it doesn’t “create” it.

## SECTION 2 — COMPONENTS

- Compressor

- Condenser

- Evaporator coil

- Reversing valve

- Refrigerant lines

- Thermostat

Every component is a character in the same story.

## SECTION 3 — REFRIGERANT BASICS

- Must be weighed in/out

- Requires vacuum and tight seals

- Wrong charge = bad performance

If someone “tops off” refrigerant without finding the leak, they sold a Band-Aid, not a solution.

## SECTION 4 — COMMON FAILURES

- Leaking linesets

- Frozen coils

- Bad capacitors

- Dirty filters

- Oversized equipment

Heat pumps don’t fail suddenly — comfort disappears slowly first.