## SECTION 1 — WHAT METAL ROOFING IS

Metal roofing is a premium system known for longevity, energy efficiency, and wind resistance. It doesn’t just sit on a house—it reinforces it.

Metal is a lifetime choice, not a product cycle.

## SECTION 2 — TYPES

- Standing seam — concealed fasteners, premium

- R-panel — exposed fasteners, economical

Standing seam is the king. Exposed fasteners are the compromise.

## SECTION 3 — INSTALLATION FOCUS POINTS

- Panel layout

- Ridge and hip caps

- Transitions

- Sealants

- Fastener spacing

Metal doesn’t leak — fasteners do.

## SECTION 4 — COMMON FAILURES

- Over-tightened screws crush washers

- No closure strips → wind-driven rain

- Expansion ignored → distortion

- Mixing metals → corrosion

Most metal roof problems start with ego, not weather.