## SECTION 1 — WHAT ROOFING IS

Roofing is the trade that protects a structure from water, weather, ultraviolet damage, and time. It is the shield of the home. If the roof fails, nothing else matters — water ruins everything beneath it.

Core mission:

Keep water out. Keep structure intact. Keep homeowners confident.

A leak doesn’t start where you see it — it starts where someone cut corners.

## SECTION 2 — SYSTEM CATEGORIES

### 1. Steep-Slope Roofing (Residential)

- Asphalt shingles

- Metal roofing

- Tile / slate

- Wood shake

Pitch determines gravity’s job description.

### 2. Low-Slope Roofing (Commercial / Some Residential)

- TPO

- EPDM

- Modified bitumen

- Built-up roofing (BUR)

Flat roofs aren’t flat — they’re engineered drainage systems.

### 3. Flashing & Penetrations

- Chimneys

- Vents

- Skylights

- Pipe boots

- Wall transitions

Roofs don’t fail on surfaces — they fail at edges and penetrations.

## SECTION 3 — REQUIRED TOOLS

Essential

- Roofing hammer / nail guns

- Utility knives

- Chalk line

- Harness & safety gear

- Magnetic sweeper for nails

- Ladder stabilizers

Professional

- Seam welders (TPO/EPDM)

- Sheet metal tools

- Moisture meters

- Drones for inspections

If they don’t own fall protection, they don’t roof — they gamble.

## SECTION 4 — COMMON MATERIALS

Asphalt System

- Shingles (architectural, 3-tab)

- Underlayment (felt or synthetic)

- Drip edge

- Ice & water shield

- Ridge cap

- Starter strip

Metal System

- Panels (standing seam / R-panel)

- Underlayment

- Clips, screws, closures

Commercial System

- TPO membranes

- Adhesives

- Fasteners

- Insulation board

The material is the costume — the waterproofing is the script.

## SECTION 5 — KEY TERMS

- Pitch — roof angle

- Square — 100 sq. ft. roofing unit

- Decking — substrate beneath roofing

- Flashing — directing water away

- Underlayment — secondary moisture barrier

- Ice & Water Shield — protection at weak points

- Ridge Vent — attic exhaust system

Roofs don’t age — they fail where they were neglected.

## SECTION 6 — STANDARD WORK SEQUENCE

- Tear-off or deck prep

- Underlayment install

- Flashing and penetrations

- Roofing material install

- Ridge caps and vents

- Clean-up and inspection

Order matters because water is patient.

## SECTION 7 — COMMON FAILURES

- No starter strip → shingle lift

- Nail placement wrong → leaks + blowoffs

- Missing or bad flashing → guaranteed failures

- Poor ventilation → premature shingle death

- Cheap fasteners → rust and callbacks

A roof is not a product — it’s a system. One weak link ruins the chain.

## SECTION 8 — SAFETY CONSIDERATIONS

- Fall protection is mandatory

- Weather conditions affect safety

- Electrical hazards near overhead lines

- Roof deck stability must be confirmed

Roofing ignores ego. Gravity doesn’t negotiate.

## SECTION 9 — DIY VS PRO THRESHOLDS

DIY okay:

- Small gutter cleaning

- Missing shingle replacement

Hire a pro:

- Full roof replacement

- Metal seam installs

- Low-slope membranes

- Flashing replacements

Roof mistakes don’t drip — they multiply.

## SECTION 10 — WHAT MAKES A GOOD ROOFER

They:

- Flash every penetration like it matters

- Understand water’s behavior

- Vent attics properly

- Respect manufacturer specifications

- Don’t reuse old flashing

- Leave a clean jobsite

- Document everything

A trustworthy roofer wins with discipline, not discounts.