## SECTION 1 — STONE AS A TRADE

Stone doesn’t care about schedules.

It is measured in generations, not invoices.

Working stone is half engineering, half stubbornness.

## SECTION 2 — TYPES

- Natural stone (granite, fieldstone, limestone)

- Cultured stone (manufactured veneer)

- Dry stack vs mortared systems

Dry stack is gravity calculus — not decoration.

## SECTION 3 — RETAINING WALL PRINCIPLES

A retaining wall doesn’t hold dirt back.

It manages pressure.

Rules:

- Lean into the slope

- Use drainage gravel

- Install perforated drain tile

- Allow water to escape

- Compact every lift

Water is the enemy. Gravity is the judge.

## SECTION 4 — COMMON FAILURES

- No drainage → catastrophic bulge

- Poor base prep → leaning

- Wrong backfill → hydrostatic pressure

- No geogrid → collapse risk

Retaining walls don’t fall over — they give up slowly, then all at once.