## SECTION 1 — WHAT ROOF FRAMING DOES

Roof framing protects the structure from weather, transfers loads to walls, and shapes the building’s identity.

Roofs are not hats. They are engineered tension systems.

## SECTION 2 — TWO SYSTEMS

### Rafters

- Built onsite

- Custom shapes

- Labor intensive

### Trusses

- Factory-engineered

- Stronger, faster, lighter

- Zero guesswork

A truss is a math problem someone else solved.

## SECTION 3 — COMPONENTS

- Ridge board

- Rafters / trusses

- Collar ties

- Rafter ties

- Sheathing

- Fascia & soffit support

Remove the wrong piece, the roof remembers.

## SECTION 4 — COMMON FAILURES

- Missing ties → roof spread

- Poor nailing schedules → uplift failures

- Improper sheathing → sagging planes

- Cutting trusses → structural sin

The roof is either a system or a warning letter.