## SECTION 1 — WHAT THESE SYSTEMS DO

Drywall isn’t just a pretty surface — it’s a fire barrier and a sound shield.

Acoustic and fire assemblies decide whether noise or flame moves through a wall.

## SECTION 2 — FIRE-RATED SYSTEMS

- Type X board

- Multiple layers

- Proper fasteners

- Sealant at penetrations

Fire ratings are promises to strangers.

## SECTION 3 — ACOUSTIC STRATEGIES

- Resilient channel

- Soundboard

- Double layers

- Sealant at seams

Sound moves through gaps, not walls.

## SECTION 4 — COMMON FAILURES

- Puncturing resilient channels → defeats system

- Missing fire caulk → code violation

- Gaps at seams → sound leaks

- Wrong board thickness → wasted effort

Assemblies fail silently before they fail visibly.