## SECTION 1 — EXTERIOR COATING IS A SHIELD

Exterior paint is the home’s raincoat and sunscreen.

It protects from:

- Moisture

- Mold

- UV breakdown

- Temperature swings

Exterior failure starts where prep ends.

## SECTION 2 — WASH, SCRAPE, SAND, PRIME

The sequence:

- Pressure wash

- Scrape failing paint

- Sand bare edges

- Patch and caulk

- Prime

- Paint

Skipping steps is not faster — it’s deferred regret.

## SECTION 3 — COATING TYPES

- Acrylic latex — standard

- Elastomeric — stucco & masonry

- Oil-based — legacy trim & stain blocking

- Stain/sealer — wood grain protection

Paint isn’t color — it’s chemistry with a deadline.

## SECTION 4 — COMMON FAILURES

- Peeling from moisture trapped behind walls

- No back-priming trim

- UV chalking

- Caulk separation

Exterior paint fails at edges long before it fails at fields.