## SECTION 1 — WHAT WINDOWS AND DOORS REALLY ARE

They are not holes in walls — they are controlled breaches in the building envelope.

Windows provide light, insulation, views, and ventilation.

Doors provide access, separation, and security.

Every failure here becomes a draft, leak, mold bloom, or complaint.

## SECTION 2 — TYPES OF WINDOWS

- Single-hung

- Double-hung

- Casement

- Slider

- Fixed/Picture

- Awning

- Bay/Bow

Each style solves a different problem of airflow, light, or architecture.

## SECTION 3 — TYPES OF DOORS

- Interior panel doors

- Exterior insulated units

- French doors

- Sliding doors

- Pocket doors

- Fire-rated assemblies

Doors are not chosen by taste — they’re chosen by purpose.

## SECTION 4 — REQUIRED TOOLS

- Levels & shims

- Screw guns

- Flashing tape

- Saws & chisels

- Spray foam (low-expansion only)

Low-expansion foam is not optional — it’s religion.

## SECTION 5 — INSTALLATION FUNDAMENTALS

- Verify opening size

- Flash rough opening

- Set unit level, plumb, square

- Shim correctly

- Fasten per manufacturer specs

- Seal without over-foaming

Openings don’t leak — installers do.

## SECTION 6 — WEATHER & ENERGY LOGIC

Windows and doors are thermal weak points.

Wrong install = drafts, condensation, mold, and HVAC bills that feel personal.

Efficiency isn’t a sticker — it’s installation discipline.

## SECTION 7 — COMMON FAILURES

- Gaps from bad shims

- Frame racking → sticky doors

- Missing flashing → rot

- Fogged glass → seal failure

- Over-foaming → warped frames

The enemy is water. The accomplice is impatience.

## SECTION 8 — SAFETY

- Glass handling

- Weight risks

- Pinch points

- Ladder work

Glass respects no one.

## SECTION 9 — DIY VS PRO

DIY OK:

- Basic interior door swaps

Hire a pro:

- Exterior units

- Sliding doors

- Pocket doors

- Anything involving flashing and weather sealing

Exterior doors & windows are marriage-level decisions — mistakes stay forever.

## SECTION 10 — WHAT MAKES A GOOD INSTALLER

They:

- Shim with intent, not hope

- Flash everything like rain is hunting them

- Use levels like truth detectors

- Respect reveal lines

- Never trust rough openings

You don’t install windows. You negotiate with physics and weather.