## SECTION 1 — SPRAY FOAM IS SURGERY

It solves problems batts can’t touch:

- Air barrier

- Thermal barrier

- Acoustic improvement

- Moisture resistance

But when it goes wrong, it’s a crime scene.

## SECTION 2 — TYPES

Open-cell — flexible, cheaper, vapor-open

Closed-cell — strong, vapor-closed, structural

Choose based on climate, not marketing.

## SECTION 3 — RIGID FOAM BOARDS

- Polyiso — high R per inch

- XPS — durable, but global warming baggage

- EPS — cheap, breathable, honest

Rigid foam becomes a suit of armor when installed as continuous insulation.

## SECTION 4 — RULES OF FOAM

- Never trap moisture

- Respect dew point

- Allow assemblies to dry somewhere

- Seal seams like water is a detective

Spray foam doesn’t fix bad design — it makes it permanent.