## 1. What This Tool Is

A GFCI tester is a plug-in diagnostic tool used to verify that Ground Fault Circuit Interrupter outlets are wired correctly and will trip power when a shock hazard occurs. It checks wiring orientation, grounding integrity, and the life-saving protection the code requires around water.

If the multimeter diagnoses circuits, the GFCI tester proves they can save a life.

## 2. Why It Exists / When It’s Used

Use a GFCI tester:

- In kitchens, bathrooms, garages, laundry rooms, outdoors, and near any water source

- After installing or replacing outlets, breakers, or circuits

- When troubleshooting nuisance tripping

- To confirm safety during inspections or home purchases

A GFCI is the difference between a bad day and a funeral.

The tester verifies it works.

## 3. Mastery Signals (How Pros Stand Apart)

Pros:

✔ Test before and after installation

✔ Read diagnostic light codes without guessing

✔ Explain why GFCI exists in 10 seconds:

“It cuts power faster than your heart can stop from a shock.”

✔ Verify line/load orientation is correct

✔ Test outdoor outlets even when homeowners forget they exist

Amateurs:

❌ Only press the outlet’s test button (not enough)

❌ Ignore reversed hot & neutral

❌ Leave bootleg grounds undetected

❌ Don’t test load-side protection

❌ Think “it turned on” = safe

TradeScout Standard:

“Power that turns on isn’t impressive. Power that turns off when it should is.”

## 4. What It Detects

| Indicator | Meaning | Why It Matters |
| --- | --- | --- |
| Correct | Safe wiring | Pass |
| Open Ground | No grounding path | Lethal around water |
| Reverse Polarity | Hot/neutral swapped | Devices fail, shocks possible |
| Open Neutral | Shared circuits fail | Flicker + damage risk |
| Open Hot | Dead circuit | Hidden fault |

A GFCI tester translates electrical literacy into a traffic light.

## 5. Safety Dangers GFCI Prevents

⚡ Electrocution from wet appliances

⚡ Faulty extension cords outdoors

⚡ Improper pool lighting circuits

⚡ Bathroom hair dryers near sinks

⚡ DIY wiring done with ambition instead of knowledge

Electricity is invisible.

GFCI protection makes the danger predictable.

## 6. Maintenance Checklist

- Clean contacts monthly

- Replace if indicator lights dim or fail

- Test on a known-good outlet weekly

- Keep dry—moisture mimics faults

- Label tester with purchase date

A $15 tester prevents a $15,000 lawsuit.

## 7. Customer Recommendation Boosters

Electricians earn homeowner trust FAST when they:

📌 Test every water-adjacent outlet and show the results

📌 Explain line/load protection in one sentence

📌 Catch reversed polarity from handyman wiring

📌 Document all failures on a printable report

This is the kind of transparency that explodes recommendation count inside TradeScout.

Homeowners remember pros who protect their kids.