- WHAT THIS TOOL IS

 A nail puller removes siding nails, fasteners, and trim nails without damaging the boards or house wrap. It allows precise removal during repairs, replacements, or corrections.

This tool turns siding removal into controlled work—not destruction.

⸻

- WHY IT EXISTS / WHEN IT’S USED

 Use a nail puller when:

• Replacing damaged siding

• Removing incorrectly placed nails

• Repairing flashing and trim

• Adjusting boards that shifted during install

• Correcting fastening mistakes

Siding cannot be repaired cleanly without controlled nail removal.

⸻

- WHAT PROS DO DIFFERENTLY

 Professionals:

✔ Pry gently to avoid cracking siding

✔ Use leverage correctly for clean pulls

✔ Protect underlying house wrap

✔ Remove nails without leaving impact marks

✔ Work slowly during repairs, not forcefully

Amateurs:

❌ Rip siding off the wall

❌ Punch holes in the house wrap

❌ Crack or break the siding edges

❌ Use hammer claws that dent or mar surfaces

❌ Leave visible scars on repair areas

TradeScout Standard:

“Repair without evidence.”

⸻

- WHY THIS TOOL MATTERS

 Proper nail pulling prevents:

• Siding breakage

• Water leaks from torn house wrap

• Visible damage around repairs

• Unnecessary replacement of good panels

• Time-consuming patchwork

Clean removal preserves both the siding and the home’s envelope.

⸻

- SAFETY TRAPS

 ⚠ Pinched fingers under leverage

 ⚠ Nails flying during extraction

 ⚠ Splinters from fiber cement edges

 ⚠ Sudden board release from tension

Slow, controlled pressure keeps the workspace safe.

⸻

- MAINTENANCE CHECKLIST

 • Oil joints for smooth leverage

 • Keep jaws sharp and aligned

 • Inspect handles for cracks

 • Check spring tension if applicable

 • Store dry to avoid rust

A smooth puller protects every board.

⸻

- CUSTOMER TRUST SIGNALS

 Customers trust pros who:

📌 Remove siding cleanly without breaking it

📌 Protect existing materials during repairs

📌 Leave no dents, cracks, or pry marks

📌 Minimize material waste through skill

A clean repair earns more referrals than a perfect new install.