- WHAT THIS TOOL IS

 A level ensures windows and doors are plumb, level, and square. It verifies that frames sit correctly and that units open, close, and seal as designed.

If the level is wrong, nothing else works correctly.

⸻

- WHY IT EXISTS / WHEN IT’S USED

 Use a level when:

• Setting new windows

• Installing pre-hung doors

• Checking plumb on framing

• Adjusting rough openings

• Confirming alignment before fastening

A window or door must be square before it is secure.

⸻

- WHAT PROS DO DIFFERENTLY

 Professionals:

✔ Check level, plumb, and square—not just one

✔ Verify diagonal measurements before fastening

✔ Re-check after each shim adjustment

✔ Use a torpedo level for tight spaces and a long level for full frames

✔ Trust the tool—not their eyes

Amateurs:

❌ Only check level one direction

❌ Rely on eyeballing the fit

❌ Fasten too soon without adjustments

❌ Ignore subtle twists that ruin operation

❌ Use cheap levels that aren’t accurate

TradeScout Standard:

“Perfectly level = perfectly functional.”

⸻

- WHY THIS TOOL MATTERS

 Proper leveling prevents:

• Window drafts

• Door sticking or rubbing

• Lock misalignment

• Seal failures

• Water intrusion

Correct alignment makes installations last.

⸻

- SAFETY TRAPS

 ⚠ Level dropped from height becomes inaccurate

 ⚠ Mortar, dust, or caulk on vials distorts readings

 ⚠ Overreaching on ladders while checking alignment

 ⚠ Pinched fingers when adjusting shims under load

A damaged level is a dangerous guide—verify accuracy often.

⸻

- MAINTENANCE CHECKLIST

 • Clean vials after each job

 • Check accuracy monthly

 • Keep corners protected from impacts

 • Replace level if readings drift

 • Store flat in a dry location

A level is only valuable if it is true.

⸻

- CUSTOMER TRUST SIGNALS

 Customers trust pros who:

📌 Show alignment checks during installation

📌 Open and close units smoothly before fastening

📌 Produce straight, clean reveals

📌 Demonstrate precision with every adjustment

Alignment they can see becomes trust they remember.