## 1. TOP HAZARDS

• Concrete burns

• Silica dust exposure

• Heavy lifting

• Rebar puncture

• Formwork collapse

⸻

## 2. REQUIRED PPE

✔ Respirator (silica dust)

✔ Gloves

✔ Waterproof boots

✔ Eye protection

✔ Long sleeves

⸻

## 3. SAFE WORK PRACTICES

✔ Add water to mix carefully

✔ Keep hands out of wet concrete

✔ Cut rebar with proper tools

✔ Maintain stable formwork

✔ Use ventilation when grinding

⸻

## 4. DO NOT DO

❌ Kneel in wet concrete

❌ Grind without a respirator

❌ Overload wheelbarrows

❌ Pour on unstable ground

⸻

## 5. EMERGENCY TRIGGERS

⚠ Concrete skin burns

⚠ Rebar puncture wounds

⚠ Silica inhalation issues

⚠ Form collapse

⸻

## 6. CUSTOMER TRUST SIGNALS

📌 Clean forms

📌 Safe mixing area

📌 Controlled pours

📌 Dust-managed grinding