## 1. TOP HAZARDS

• Falling debris

• Sharp metal edges

• Dust inhalation

• Hidden utilities

• Structural collapse

⸻

## 2. REQUIRED PPE

✔ Gloves

✔ Safety glasses

✔ Respirator

✔ Steel/composite toe boots

✔ Long sleeves

⸻

## 3. SAFE WORK PRACTICES

✔ Identify utilities before demo

✔ Control dust with ventilation

✔ Remove materials in sections

✔ Use proper disposal methods

✔ Maintain clear escape paths

⸻

## 4. DO NOT DO

❌ Swing blindly at walls

❌ Tear down load-bearing sections

❌ Leave nails sticking out

❌ Cut without identifying wiring

⸻

## 5. EMERGENCY TRIGGERS

⚠ Electrical hits

⚠ Gas line strikes

⚠ Falling debris injuries

⚠ Excessive dust exposure

⸻

## 6. CUSTOMER TRUST SIGNALS

📌 Contained debris

📌 Clear jobsite

📌 Protected floors/walls

📌 Controlled cutting and prying